MOREHOUSE PARISH SCHOOL BOARD

SAFETY CHECKLIST

GENERAL - BUILDINGS AND GROUNDS

School					Location					Date

Inspector										Time

Indicate ‘yes’ or ‘no’.  If ‘no’, recommendations or comments should be made on the line, or on the reverse side of the form identified by the number that corresponds to the question.

1.   Lights free of loose wires, jagged 	Y  N  Comments                                                                   glass, etc.?

2.   Utility/meter box doors closed,		Y  N  Comments                                                                  with no locks broken or damaged?

3.   Fire alarms, switches, wires, etc.., 	Y  N  Comments                                                                  in good repair?

4.   Windows and doors are free of sharp	Y  N  Comments                                                                   edges or splinters, with no broken

window panes present?

5.   Use of extension cords is discouraged?  	Y  N  Comments

6.   Extension cords are in good repair? 	Y  N  Comments

7.   Fire hoses/fire extinguishers are in	Y  N  Comments                                                                  good condition and inspected on a

regular basis?

8.   Grounds, blacktop, stairways, and 	Y  N  Comments

sidewalks free of undermining, holes,

cracks or other defects?

9.   The flow of dirt or water on the		Y  N  Comments

sidewalk minimized?

10. General areas are free of debris, 		Y  N  Comments

broken glass and other hazardous

materials?

11. Lawn sprinklers are installed flush	Y  N  Comments

with the ground?

MOREHOUSE PARISH SCHOOL BOARD

2 of 3

GENERAL - BUILDINGS AND GROUNDS (continued)

12. Safe chemical handling procedures	Y  N  Comments

are posted?

13. Are Material Safety Data Sheets		Y  N  Comments

available on site on all toxic/hazardous

chemicals?

14. Personal protective equipment is avail-	Y  N  Comments

able for the handling of all toxic/

hazardous chemicals?

15. First aid equipment is adequately		Y  N  Comments

stocked and conveniently accessible

to all areas of student activities?

16. Shrubs and trees are periodically		Y  N  Comments

trimmed to keep branches off the

walkways?

17. Posts, gates and fencing are kept in	Y  N  Comments

good repair, free from loose or falling

pieces that could cause an accident?

18. Playground equipment is periodically	Y  N  Comments

inspected and kept free of broken,

loose or sharp edges?

19. Exterior lighting present over en-		Y  N  Comments

trances, walkways and parking lot

areas is considered adequate; any

broken or burned out lights?

20. Parking spaces and curbs are marked	Y  N  Comments

and pavement in good condition?

21. Traffic patterns are clearly indicated?	Y  N  Comments

22. Teachers know procedure in event of 	Y  N  Comments

fire including notification of fire depart-

ment and evacuation of buildings?

23. Pupils have been instructed and drilled	Y  N  Comments

in emergency procedures?

24. Exits from buildings are properly		Y  N  Comments

identified?

MOREHOUSE PARISH SCHOOL BOARD

3 of 3

GENERAL - BUILDINGS AND GROUNDS (continued)

25.  Fire extinguishers are of an approved	Y  N  Comments

type, properly located and prom-

inently marked?

26.  Fire extinguishers are being serviced	Y  N  Comments

and maintained in accordance with

specifications?

27.  Teachers and pupils have been in-	Y  N  Comments

structed on location and proper

use of extinguishers?

28.  Bulk storage of dangerous materials	Y  N  Comments

is provided outside of main building?

29.  Student lockers are inspected regularly	Y  N  Comments

for cleanliness and fire hazards?

30.  Material kept in storage rooms and	Y  N  Comments

closets, in orderly condition, free of

fire hazard?

31.  Emergency information cards are	Y  N  Comments

posted in appropriate locations and

are kept up to date?

32.  Ground fault protection is on all		Y  N  Comments

electrical receptacles within six feet

of sinks and other ground sources?

33.  ‘No Smoking’ signs prominently and	Y  N  Comments

properly posted in specific areas--espe-

cially in areas containing combustibles

and flammables?

34.  Ventilation systems regularly checked	Y  N  Comments

for their performance?

35.  Stairways in good condition and		Y  N  Comments

standard railing provided for every

flight having four or more risers?

36.  Toilet and washing facilities clean	Y  N  Comments

and sanitary?